## quot
सुचना !!! सुचना !!! सुचना !!! प्रथम पटक प्रकाशित मिति: २०८२/०२/२७ प्रस्तुत विषयमा यस कम्पनीको ललितपुर शाखा कार्यालय अन्तर्गत दक्षिणकाली न.पा -०३, फर्पिंग, हेडपोण्ड सडकमा तपशिल बमोजिमको निर्माण सम्बन्धि कार्य गर्नु परेको हुँदा यस कम्पनीमा आजको मिति सम्म सुची दर्ता भएका कम्पनी / फर्महरुलाई के कति दर रेटमा काम गर सकिन्छ ? यो सुचना प्रकाशन मितिले ३ (तीन) दिन भित्र Quotation मा उल्लेख भए अनुसार दर रेट पेश गर्नु हुन सबैलाई जानकारी गराईन्छ ¦
तपशिल:
१. कामको विवरण
S.N | Description of Works | Estimated Amount
1 | Protection of 500mm dia Transmission Main (Penstock Pipe) at Dakshinkali Municipality-03, Pharping, Sokhel | 9,92,332.85
२. Quotation को लागि कार्यालयमा आयोजना कार्यान्वयन ईकाईमा सम्पर्क गर्नु हुन् वा वेवसाइट: www.kathmanduwater.org बाट डाउनलोड गर्नु हुन् जानकारी गराईन्छ ¦
KATHMANDU UPATYAKA KHANEPANI LIMITED
MAIN OFFICE
QUOTATION
Project: | #REF!
#REF! | #REF!
S.N. | DESCRIPTION OF WORKS | QUANTITY | UNIT | RATE |  | AMOUNT
|  |  |  | IN FIGURE | IN WORDS
1 | Earthwork excavation on normal soil including dewatering and removal of stumps, deleterious matter as per technical specification and drawing | 45.1 | M3
2 | Providing and placing of 150mm thick stone soiling at foundation of retaining wall as per drawing and technical specification | 2.4 | M3
3 | Providing, mixing and placing of 1:3:6 mix concrete with proper curing as per drawing and technical specification | 2.4 | M3
4 | Providing, mixing and placing of 1:1:2 mix concrete using mixture and vibrator with proper curing as per drawing and technical specification | 21.76 | M3
5 | Supplying, bending, cutting of 12mm, 10mm TMT reinforcement as per drawing and Technical Specification | 999.93 | Kg
7 | Supply and Fixing of 19mm thick plywood formwork and removing after completion of concreting as per drawing and technica specification | 80.24 | M2
8 | Back filling with approved material and proper compaction using rammer as per the instruction of site engineer | 21.24 | M3
| In words :Nrs. |  |  |  | Sub-Total
VAT 13%
Grand Total